## 1. Daily Performance & Maintena
Date | Output_MWh | Heat_Rate_kJ_kWh | Vibration_mm_s | Forced_Outage | Maintenance_Hours | Fuel_Quality_Index | Ambient_Temp_C | Operator_Shift
2024-01-01 | 15.2 | 8.45 | 2.1 | No | 2 | 92 | 28 | A
2024-01-02 | 14.8 | 8.52 | 2.3 | No | 3 | 90 | 29 | B
2024-01-03 | 0 | 0 | 0.0 | Yes | 8 | 0 | 30 | C
2024-01-04 | 15.6 | 8.32 | 1.8 | No | 1 | 95 | 27 | A
2024-01-05 | 15.4 | 8.38 | 2.0 | No | 2 | 93 | 26 | B
2024-01-06 | 15.1 | 8.48 | 2.2 | No | 2 | 91 | 28 | C
2024-01-07 | 0 | 0 | 0.0 | Yes | 6 | 0 | 29 | A
2024-01-08 | 14.9 | 8.56 | 2.4 | No | 4 | 89 | 30 | B
2024-01-09 | 15.5 | 8.29 | 1.7 | No | 1 | 96 | 25 | C
2024-01-10 | 15.3 | 8.35 | 1.9 | No | 2 | 94 | 27 | A
2024-01-11 | 15 | 8.42 | 2.1 | No | 3 | 92 | 28 | B
2024-01-12 | 15.7 | 8.26 | 1.6 | No | 1 | 97 | 26 | C
2024-01-13 | 15.2 | 8.44 | 2.0 | No | 2 | 91 | 29 | A
2024-01-14 | 14.8 | 8.54 | 2.3 | No | 3 | 89 | 30 | B
2024-01-15 | 0 | 0 | 0.0 | Yes | 7 | 0 | 31 | C
2024-01-16 | 15.4 | 8.37 | 1.8 | No | 1 | 93 | 28 | A
2024-01-17 | 15.6 | 8.31 | 1.7 | No | 1 | 95 | 27 | B
2024-01-18 | 15.1 | 8.46 | 2.1 | No | 2 | 92 | 29 | C
2024-01-19 | 15.3 | 8.33 | 1.9 | No | 2 | 94 | 26 | A
2024-01-20 | 15.5 | 8.28 | 1.6 | No | 1 | 96 | 25 | B
2024-01-21 | 14.9 | 8.51 | 2.2 | No | 3 | 90 | 28 | C
2024-01-22 | 15.2 | 8.41 | 2.0 | No | 2 | 92 | 27 | A
2024-01-23 | 15.4 | 8.36 | 1.8 | No | 1 | 93 | 26 | B
2024-01-24 | 15.7 | 8.25 | 1.5 | No | 1 | 97 | 25 | C
2024-01-25 | 15 | 8.47 | 2.1 | No | 3 | 91 | 29 | A
2024-01-26 | 14.8 | 8.55 | 2.4 | No | 4 | 89 | 30 | B
2024-01-27 | 15.6 | 8.3 | 1.7 | No | 1 | 95 | 28 | C
2024-01-28 | 15.3 | 8.34 | 1.9 | No | 2 | 94 | 27 | A
2024-01-29 | 15.1 | 8.43 | 2.0 | No | 2 | 92 | 28 | B
2024-01-30 | 15.5 | 8.27 | 1.6 | No | 1 | 96 | 26 | C
Kolom Deskripsi:
Output_MWh: Daily power generation
Heat_Rate_kJ_kWh: Energy efficiency indicator (lower is better)
Vibration_mm_s: Turbine vibration level
Forced_Outage: Emergency shutdown (Yes/No)
Maintenance_Hours: Daily maintenance duration
Fuel_Quality_Index: Fuel quality (0-100 scale)
Ambient_Temp_C: Environmental temperature
Operator_Shift: Operating crew shift