## Sheet1
Component | Failure_Mode | Frequency | MTBF_Component | Repair_Cost_USD | Downtime_Hours | Efficiency_Impact_Percent
Turbine_Blades | Erosion_Corrosion | 12 | 1.8 | 85 | 48 | 3.2
Bearings | Overheating | 8 | 1.2 | 45 | 36 | 1.8
Control_System | Software_Fault | 6 | 2.4 | 25 | 24 | 0.5
Seal_System | Leakage | 5 | 2 | 32 | 42 | 2.1
Fuel_System | Contamination | 4 | 3 | 18 | 18 | 1.2
Generator | Winding_Fault | 3 | 3.6 | 95 | 72 | 0.0
Cooling_System | Pump_Failure | 2 | 4.2 | 15 | 12 | 0.8
Instrumentation | Sensor_Drift | 7 | 1.5 | 8 | 6 | 0.3
Criticality Analysis:
🟥 HIGH CRITICALITY COMPONENTS:
Turbine Blades: Highest failure frequency (12), major efficiency impact (3.2%), high repair cost
Generator: Highest repair cost ($95K), longest downtime (72 hours)
Bearings: High frequency (8), significant efficiency impact (1.8%)
🟨 MEDIUM CRITICALITY COMPONENTS:
Seal System: Moderate frequency, high efficiency impact (2.1%), medium repair cost
Control System: Medium frequency, moderate downtime and cost
Instrumentation: High frequency but low individual impact
🟩 LOW CRITICALITY COMPONENTS:
Fuel System: Low frequency, moderate impact
Cooling System: Lowest frequency, lowest downtime and efficiency impact
Key Performance Insights:
Most Frequent Failures:
1. Turbine Blades (12 occurrences)
2. Bearings (8 occurrences)
3. Instrumentation (7 occurrences)
Most Expensive Repairs:
1. Generator - $95,000
2. Turbine Blades - $85,000
3. Bearings - $45,000
Longest Downtime Impact:
1. Generator - 72 hours
2. Turbine Blades - 48 hours
3. Seal System - 42 hours
Highest Efficiency Loss:
1. Turbine Blades - 3.2%
2. Seal System - 2.1%
3. Bearings - 1.8%
Best Reliability (MTBF):
1. Cooling System - 4,200 hours
2. Generator - 3,600 hours
3. Fuel System - 3,000 hours
Priority for Maintenance Improvement:
1. Turbine Blades (high frequency, high cost, high downtime)
2. Generator (extreme repair cost and downtime)
3. Bearings (high frequency and significant impacts